## Attachment J-Exterior Building Checklist

The following tasks should be completed by each Building’s BEC. For Buildings with multiple Departments, HWCOE Facilities staff will be primarily responsible and will coordinate with Departmental BECs, as necessary. Some of the items below may require coordination with UF Facilities Service

|  |  |  |
| --- | --- | --- |
| **** | **Action/Tasks** | **Notes** |
|  | Check exterior of building for any items that could become wind hazards and secure as necessary. Potential wind hazards could include large debris, temporary signs, display racks, large branches, unattached furniture, potted plants, trash cans, etc |  |
|  | Confirm any outside stored compressed gas cylinders and/or hazardous material containers are properly secured |  |
|  | Verify all roof drains, french drains, and other storm water drains are clear of debris and functioning properly |  |
|  | Any research equipment or supplies that can become wind hazards on the roof or exterior needs to be secured. Contact lab manager to properly secure items. |  |

Sandbagging – HWCOE Facilities Operations will coordinate with UF Facilities Services to sandbag and plastic the following building entrances. If you require further sandbagging, contact HWCOE Facilities Operations

|  |  |  |  |
| --- | --- | --- | --- |
| **Building** | **Exterior Door Entry Room** | **Note** | **Number of Sandbags** |
| Weil Hall | 120 | Roll up Door | 25-30 |
| Weil Hall | 199H | Hallway entry - Lenel | 10-12 |
| Weil Hall | 0176 | Entry at stairwell | 10-12 |
| Reed Lab | 106 | Dbl Door at stairwell | 20-25 |
| Reed Lab |  | Near annex |  |
| Materials Building | 0138 | Entrance at breezeway | 10-12 |
| Materials Building | 0199H | Main Hallway entry at breezeway | 10-12 |
| Materials Building | 0126 | Entry at Breezeway | 10-12 |
| Materials Building | 0136 | Entry at Breezeway | 15-20 |
| Nuclear Science Building | 0114 | Entry at loading dock | 20-25 |
| Nuclear Science Building | 0199S | Entry to stairwell at loading dock | 10-12 |
| Nuclear Science Building | 0122 | Roll-up door at loading dock | 25-30 |
| Particle Science & Technology | C199B | South hallway entry | 10-12 |
| Benton? |  |  |  |
| Black Hall |  | Loading Dock area | 20-25 |
| Phelps Lab? |  |  |  |
| Nuclear Field Building  |  | Double doors on South Side | 20-25 |
| Nuclear Field Building |  | Double Doors on North Side | 20-25 |
| Nuclear Field Building |  | Single door at South Quonset hut | 10-12 |